CENTRAL LABORATORY FOR CHEMICAL ANALYSIS

Zagorska ulica 1, ZAGREB, CROATIA

Tel/fax  + 385 1 3093-939

cktl@hep.hr

#### TESTING THE PROPERTIES OF FUEL AND RESIDUAL OIL

| No. | TYPE OF TEST / PROPERTY | Units | TEST METHOD |
| --- | --- | --- | --- |
| 1. | Density - Hydrometer method * | kg/m3 | HRN EN ISO 3675 |
| 2. | Density – Oscillating U-tube method | kg/m3 | HRN EN ISO 12185 |
| 3. | Flash point - Pensky-Martens closed cup method * | oC | HRN EN ISO 2719 |
| 4. | Carbon residue | mass.% | HRN EN ISO 10370 |
| 5. | Determination of ash | mass.% | HRN EN ISO 6245 |
| 6. | Kinematic viscosity | mm2/s | HRN EN ISO 3104 |
| 7. | Kinematic viscosity of transparent and opaque liquids | mm2/s | ASTM D 445 |
| 8. | Pour point | oC | HRN EN ISO 3016 |
| 9. | Determination of water and sediment Centrifuge method | vol.% | HRN EN ISO 3734 |
| 10. | Determination of water – Distillation method | vol.% | HRN EN ISO 3733 |
| 11. | Carbon (C), hydrogen (H) and nitrogen (N) content * | mass.% | ASTM D5291 |
| 12. | Sulfur content (S) – EDXRF * | mass.% | HRN EN ISO 8754 |
| # 13. | # Nickel (Ni) and vanadium (V) content | mg/kg | UOP 842 |
| 14. | Calorific value * | MJ/kg | ASTM D240 |
| 15. | Emission factor * | tCO2/TJ | EU Directive No 2018/2066 |

NOTE: * accredited methods according to HRN EN ISO / IEC 17025