[image: image1.png]AHEPPROIZV@DNJA



[image: image2.png]17025-HAA

TEST

£Ce 1



 
CENTRAL LABORATORY FOR CHEMICAL ANALYSIS

Zagorska ulica 1, ZAGREB, CROATIA

Tel/fax  + 385 1 3093-939

cktl@hep.hr


TESTING THE PROPERTIES OF WASTE AND WASTE ELUATE
	No.
	TYPE OF TEST / PROPERTY
	Units
	TEST METHOD

	Waste analysis

	1. 
	Dry matter *
	mass.%
	HRN EN 15934

	2. 
	Loss on ignition (LOI) 950 °C
	mass.%
	ASTM D7348

	3. 
	P2O5 content
	mass.%
	ISO/TS 16996

	4. 
	Na2O content
	mass.%
	ISO/TS 16996

	5. 
	K2O content
	mass.%
	ISO/TS 16996

	6. 
	CaO content
	mass.%
	ISO/TS 16996

	7. 
	MgO content
	mass.%
	ISO/TS 16996

	8. 
	Al2O3 content
	mass.%
	ISO/TS 16996

	9. 
	TiO2 content
	mass.%
	ISO/TS 16996

	10. 
	Fe2O3 content
	mass.%
	ISO/TS 16996

	11. 
	SiO2 content
	mass.%
	ISO/TS 16996

	12. 
	SO3 content
	mass.%
	ISO/TS 16996

	13. 
	MnO content
	mass.%
	ISO/TS 16996

	14. 
	CaCO3 content
	%
	HRN ISO 10693

	15. 
	Total nitrogen 
	mass.%
	HRN EN ISO 16948

	16. 
	Fusibility of ash *
	°C
	HRN EN ISO 21404

	Eluate analysis

	17. 
	Preparation of waste eluate *
	-
	HRN EN 12457-2

HRN EN 12457-4

	18. 
	pH *
	-
	HRN EN 10523

	19. 
	Electrical conductivity *
	mS/m
	HRN EN 27888

	20. 
	Dissolved organic carbon (DOC) *
	mg/kg of dry matter
	HRN EN 1484

	21. 
	Total dissolved solids (TDS) *
	mg/kg of dry matter
	HRN EN 15216

	22. 
	Fluoride content *
	mg/kg of dry matter
	HRN EN 10304-1

	23. 
	Chloride content *
	mg/kg of dry matter
	HRN EN 10304-1

	24. 
	Sulfate content *
	mg/kg of dry matter
	HRN EN 10304-1

	25. 
	Arsenic content (As) *
	mg/kg of dry matter
	HRN EN ISO 11885

	26. 
	Barium content (Ba) *
	mg/kg of dry matter
	HRN EN ISO 11885

	27. 
	Cadmium content (Cd) *
	mg/kg of dry matter
	HRN EN ISO 11885

	28. 
	Chromium content (Cr) *
	mg/kg of dry matter
	HRN EN ISO 11885

	29. 
	Copper content (Cu) *
	mg/kg of dry matter
	HRN EN ISO 11885

	30. 
	Molybdenum content (Mo) *
	mg/kg of dry matter
	HRN EN ISO 11885

	31. 
	Nickel content (Ni) *
	mg/kg of dry matter
	HRN EN ISO 11885

	32. 
	Lead content (Pb) *
	mg/kg of dry matter
	HRN EN ISO 11885

	33. 
	Antimony content (Sb) *
	mg/kg of dry matter
	HRN EN ISO 11885

	34. 
	Selenium content (Se) *
	mg/kg of dry matter
	HRN EN ISO 11885

	35. 
	Zinc content (Zn) *
	mg/kg of dry matter
	HRN EN ISO 11885

	36. 
	Cobalt content (Co)
	mg/kg of dry matter
	HRN EN ISO 11885

	37. 
	Manganese content (Mn)
	mg/kg of dry matter
	HRN EN ISO 11885

	38. 
	Mercury content (Hg) *
	mg/kg of dry matter
	In-house Method IPL 25. Modified EPA METHOD 7473


NOTE: * accredited methods according to HRN EN ISO / IEC 17025 

