CENTRAL LABORATORY FOR CHEMICAL ANALYSIS

Zagorska ulica 1, ZAGREB, CROATIA

Tel/fax  + 385 1 3093-939

# TESTING THE PROPERTIES OF COAL AND COKE

| No. | TYPE OF TEST / PROPERTY | Units | TEST METHOD |
| --- | --- | --- | --- |
| 1. | Preparation of sample for analysis * | - | ASTM D 2013 (coal) ASTM D 346 (coke) |
| 2. | Total moisture content * | mass.% | ASTM D3302 (coal) ISO 579 (coke) |
| 3. | Air dry loss moisture * | mass.% | ASTM D3302 |
| 4. | Moisture in analysis sample * | mass.% | ASTM D3173 |
| 5. | Ash content * | mass.% | ISO 1171 |
| 6. | Fusibility of ash | °C | ASTM D1857 |
| 7. | Ash composition | mass.% | ASTM D4326 |
| 8. | Volatile matter content * | mass.% | ISO 562 |
| 9. | Loss on ignition (LOI) | mass.% | ASTM D7348 |
| 10. | Fixed carbon content, C-fix | mass.% | Calculated |
| 11. | Total sulfur content (S) * | mass.% | ASTM D4239-18e1 |
| 12. | Carbon (C), hydrogen (H) and nitrogen (N) content * | mass.% | ASTM D 5373 |
| 13. | Oxygen content * | mass.% | Calculated ISO 1170 |
| # 14. | # Proximate analysis by TGA * # (moisture in analysis sample, volatile matter, ash) | mass.% | ASTM D7582 |
| 15. | Calorific value * | MJ/kg | ISO 1928 |
| 16. | Total mercury content (Hg) | mass.% | ASTM D6722 |
| 17. | Emission factor * | tCO2/TJ | EU Directive No 2018/2066 |
| 18. | Determination of barbecue charcoal properties | mass.% | HRN EN 1860-2 |

NOTE: * accredited methods according to HRN EN ISO / IEC 17025